Regular Meeting			March 10, 2026               	        	 8:00 AM

Members present: Larry Skiftun, Tom Deede, Bryon Brynjulson, Devin Long and Chad Reimche

Kale Van Bruggen Rinke-Noonan and Thomas Demke Apex Engineering, were in attendance via video conference.  Tate Libunao-ND DEQ was also in attendance via video conference

Visitors: Gary Heintz

The Wells County Water Resource District Board meeting began at 8:00 AM.

Minutes of the February 10, 2026, meeting were reviewed. Tom made the motion, seconded by Chad to approve the minutes.  All voting aye, motion carried.

Hurdsfield Project

- Tate Libunao-DEQ reviewed the new Hurdsfield Drain Operations Plan.

- There are currently 3 monitoring stations.  There is not a monitoring station on the outlet.

- The new plan will remove monitoring station #1 and USGS will place a monitoring station W of Manfred on Highway 52 in late March or early April.  This will monitor sulfate levels daily so the WRD will not have to wait for lab testing results.  This should allow the pumps to run longer and pump higher CFS.

- If the WRD starts the pumps before the USGS monitoring station is put in, weekly sulfate tests will be required.

- Thomas and Tate will review the plan and provide the WRD with the final Operations Plan.

Unauthorized Dam Complaint-Thompson v Roller

- Kale sent a certified letter to the owners of the Roller Property regarding the Complaint for Noncomplying Dike, Dam or Other Device filed by Mick Thompson against John Roller.  The dike is located in the SE4 of 21-146-72.

- The WCWRD is required under state law to enforce SWR’s final decision and to ensure that unauthorized dams that affect neighboring property and natural drainage are brought into compliance.

- The letter clarifies that the dike must be breached by July 1, 2026 by the landowner.  If it is not breached by the landowner the WCWRD can breach the dike and assess the cost to the landowner along with engineering and legal expenses.

55th Ave Crossing in the Oak Creek Drain

- The WRD has not received a letter from Fairville Township that they will not be removing the new culvert.

Clean out in SW4 29-148-70 (Drain #1)

- The land is owned by the US Fish and Wildlife.  Thomas visited with them and they will not allow the clean out on their property.

- Chad made the motion, seconded by Tom to have Kale reach out the US Fish and Wildlife to see if there is a different solution.

Elevation of Culverts 26/27-148-69

- The WRD will check the elevation in the spring.

Rocky Run Joint Water Board Meeting

- The annual meeting of the Rocky Run Joint Water Board meeting will be held in Carrington at 10:00 AM at the Chieftan on March 17, 2026

Legislative Updates

- Kale will review legislative updates on WRD issues as the arise.

Snagging & Clearing in Section 3/10-146-70

- Devin inquired about funding for Snagging and Clearing in Section 3/10-146-70.

- Funds for Snagging and Clearing are limited and it will not cover maintenance or removal of sediment.

The board reviewed the bill from Apex Engineering.  Bryon made the motion, seconded by Chad to pay this bill.  All voting aye, motion carried.

The board reviewed the bill from Rinke-Noonan.  Chad made the motion, seconded by Bryon to pay this bill.  All voting aye, motion carried.

The board reviewed the bill from Tammy Roehrich.   Bryon made the motion, seconded by Chad to pay this bill.  All voting aye, motion carried.

The following bills were allowed and ordered paid:

#7067 Larry Skiftun-per diem, mlge & exp			$589.62

#7068 Tom Deede-per diem, mlge & exp			  197.75

#7069 Bryon Brynjulson-per diem, mlge & exp		  235.45

#7070 Devin Long-per diem, mlge & exp			  407.10

#7071 Chad Reimche-per diem, mlge & exp			  205.00

#7072 Tammy Roehrich-Salary & Supplies			1709.93

#7073 Apex Engineering-Engineering Services	              943.00

#7074 Rinke-Noonan- Legal Fees				2518.50

#7075 Wells Co Treasurer- Ottertail share			    35.73

#7076 NDTC-phone						     6.27

Drain Fund

#1036 Apex Engineering-Engineering Services		     990.00

#1037 Rinke-Noonan-Legal Fees     				     1930.50

#1038 Northern Plains Electric-Hurdsfield Power		     100.00

With no further business, meeting adjourned.

Approved:					Attest: