Special Meeting				April 21, 2020				7:30pm

Members present: Larry Skiftun, Philip Hoff, Tom Deede, Bryon Brynjulson and Devin Long.  Kale Van Bruggen-Rinke-Noonan, was present via video conference.

Visitors: Commissioners Leon Klock and Boone Maxwell.

Hurdsfield Project

The control panel was put in 3 feet higher than the historic high level of Hurdsfield Lake.  Due to the excessive amount of precipitation in the fall of 2019 and snow melt, the lake has risen above the last historic level and is one foot from the control panel.  There is also danger of the Roller dikes not holding and this would put the panel underwater.

Options from Apex Engineering were discussed.

Option #1: temporarily raise up the control panel with an approximate cost of $15,000

Option #2: permanently move the control panel for an approximate cost of $25,000

Discussion was held on the pros and cons of moving the panel.  Philip made the motion, seconded by Bryon to move the panel to the south side of 33rd Ave NE/3rd St NE.  Leon will donate cement pads that he has to set the pump on.

Larry talked with Northern Plains about moving the power and they consider this an emergency and will do it right away.

Discussion was held regarding Chad Weckerly lowering a culvert by 12-16 inches in the NE4 of 30-146-72.   This is causing concern to the landowners in the area.  Tom made the motion, seconded by Devin to have Bryon ask Chad if he would place a piece of plywood over the end of the culvert until the water in the area lowers.  All voting aye, motion carried

Reviewed the Oak Creek Drain Operations Plan.  Philip made the motion, seconded by Tom to approve the Oak Creek Operations Plan.  All voting aye, motion carried.  This will be sent to Doug Zink, Chairman for the Rocky Run Joint Water Board for signature.

With no further business, meeting adjourned.

Approved:								Attest: